## Sheet1
MQTT Topic level		1	2	3	4	5		Payload		Comment
		“Raw”
			<deviceID>
				“Info”				{<name>, <location>, <updates>,<inputs>, <settings>}		Sent by device when ID button pressed
				“error”				{<error>,<error info>}
				“offline”				“offline”
				“set”	“name”			{“name”}
					“location”			{“name”}
					“updates”			<value>		Time in seconds between updates
					“inputs”			<value>		How many inputs are in use
				<sensorID>	“Info”			{<name>, “Type”:<type>, “value”}
					“set”	“name”		{“name”}
					“set”	“mapping”		<value>
				<outputID>	“set”	“output”		<output value>
				<settingID>	“set”	“setting”		<value>
				<filterID>	“set”	“filter”		<filter string>

		“App”	<location>	<deviceName>	<sensorName>
						<type>		{“value”}		Converted from “Raw” values by tMonitor
			“date”					<time>
			“ssid”					<ssid>
			“temps”					{“t”:[<t+1>,<t+2>,<t+3>]}
			“rainwater”	“level”				“high”|”OK”|low”
				“pressure”				“high”|”low”

Definitions						Notes:			Settings
	<string>	“abcde..1234...”					<>	Definition	0	DHW Start boiler
	<name>	“Name”:<string>					{}	Object	1	DHW Stop boiler
	<location>	“Location”:<string>					[]	Array	2	WB is ON Temp
	“App”	“Updates:<value>					()	Optional	3	CH Start Boiler
	<type>	“Temp” || “Hum” || “PIR” || “Input” || “Output”					/	Topic separator	4	DHW Use all Heat
	<deviceID>	<string>					“”	String	5
	<sensorID	<string>					||	Alternatives	6
	<outputID>	0 || 1							7
	<settingID>	0 … 9							8
	<value>	number							9
	<time>	Unix time in secs					1 sensor has 1 value
	<t+1>	Forecast temperature in 1 hour					1 device has 1-n sensors
	<output value>	0, 1 Override, -1 override OFF					1 device has 1-n outputs
	<settings>	“Settings”:[<value>,...]
	<error>	“error”:<value>
	<error info>	“info”:<value>
	<filterID>	0..3
	<filter string>	[/<string> | +] * 1..3

## Sheet2
Thermal Store Control
Inputs					Setting ID	E.g. values
0	Temp TS Top					0	DHW Start Boiler	60
1	Temp TS Middle					1	DHW Stop Boiler	72
2	Temp TS Bottom					2	WB is ON Temp	65
3	WB Flow Temp					3	CH Start Boiler	65
	Oil Boiler is ON					4	DHW Use all Heat	50
	Call for Heat Active

States: No Call for Heat, WB is Cool					Temp WB Flow < WB is ON Temp
	Temp TS Top	<	DHW Start Boiler					0	1	0	1	0	1	0	1
	Temp TS Bottom	>	DHW Stop Boiler					0	0	1	1	0	0	1	1
	Oil Boiler is ON					0	0	0	0	1	1	1	1

	OB Circ On		WB Circ On
	0		0		Top > 60 & Bottom < 72 & OB off				X
	1		0		Top < 60 & Bottom < 72 & OB off		Start heating			X
	0		0		Top > 60 & Bottom > 72 & OB off					X
	0		0		Top < 60 & Bottom > 72 & OB off		Unlikely (???)					X
	1		0		Top > 60 & Bottom < 72 & OB on		Keep heating till bottom hot					X
	1		0		Top < 60 & Bottom < 72 & OB on		Keep heating till bottom hot					X
	0		0		Top > 60 & Bottom > 72 & OB on		Fully up to temperature					X
	0		0		Top < 60 & Bottom > 72 & OB on		Unlikely (???)					X

States: Call for Heat active, WB is Cool					Temp WB Flow < WB is ON Temp		WB &| OB must circulate
	Temp TS Middle	<	CH Start Boiler					0	1	0	1	0	1	0	1
	Temp TS Bottom	>	DHW Stop Boiler					0	0	1	1	0	0	1	1
	Oil Boiler is ON					0	0	0	0	1	1	1	1

	0		1		Middle > 65 & Bottom < 72 & OB off		Enough heat in tank		X
	1		0		Middle < 65 & Bottom < 72 & OB off		Start heating			X
	0		1		Middle > 65 & Bottom > 72 & OB off		Enough heat in tank				X
	0		0		Middle < 65 & Bottom > 72 & OB off		Unlikely (???)					X
	1		1		Middle > 65 & Bottom < 72 & OB on		Keep heating till bottom hot					X
	1		1		Middle < 65 & Bottom < 72 & OB on		Keep heating till bottom hot					X
	0		1		Middle > 65 & Bottom > 72 & OB on		Fully up to temperature					X
	0		0		Middle < 65 & Bottom > 72 & OB on		Unlikely (???)					X

States: No Call for Heat, WB is Hot					Temp WB Flow > WB is ON Temp		No need to circulate WB
	Temp TS Top	<	DHW Use all Heat					0	1	0	1	0	1	0	1
	Temp TS Bottom	>	DHW Stop Boiler					0	0	1	1	0	0	1	1
	Oil Boiler is ON					0	0	0	0	1	1	1	1

	OB Circ On		WB Circ On
	0		0		Top > 50 & Bottom < 72 & OB off				X
	1		0		Top < 50 & Bottom < 72 & OB off		Use OB as well			X
	0		0		Top > 50 & Bottom > 72 & OB off					X
	0		0		Top < 50 & Bottom > 72 & OB off		Unlikely (???)					X
	0		0		Top > 50 & Bottom < 72 & OB on		OB can go off					X
	1		0		Top < 50 & Bottom < 72 & OB on		Use OB as well					X
	0		0		Top > 50 & Bottom > 72 & OB on		Fully up to temperature					X
	0		0		Top < 50 & Bottom > 72 & OB on		Unlikely (???)					X

States: Call for Heat Active, WB is Hot					Temp WB Flow > WB is ON Temp
	Temp TS Middle	<	DHW Use all Heat					0	1	0	1	0	1	0	1
	Temp TS Bottom	>	DHW Stop Boiler					0	0	1	1	0	0	1	1
	Oil Boiler is ON					0	0	0	0	1	1	1	1

	0		1		Middle > 50 & Bottom < 72 & OB off		Enough heat in tank		X
	1		1		Middle < 50 & Bottom < 72 & OB off		Use OB as well			X
	0		1		Middle > 50 & Bottom > 72 & OB off		Enough heat in tank				X
	0		0		Middle < 50 & Bottom > 72 & OB off		Unlikely (???)					X
	0		1		Middle > 50 & Bottom < 72 & OB on		Let WB take strain					X
	1		1		Middle < 50 & Bottom < 72 & OB on		Still need to keep using OB					X
	0		1		Middle > 50 & Bottom > 72 & OB on		Keep circulating from TS					X
	0		0		Middle < 50 & Bottom > 72 & OB on		Unlikely (???)					X